## Slide 2
Huron River near Hamburg Road
2018 Flow

## Slide 3
Huron River near Hamburg Road
2018 Flow
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI

## Slide 4
Huron River near Hamburg Road
365 Day Flow
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI

## Slide 5
Huron River near Hamburg Road
5 Year Flow
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI

## Slide 6
Huron River near Hamburg Road
10 Year Flow
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI CFS

## Slide 7
Jan 8, 2007

## Slide 8
Huron River near Hamburg Road
20 Year Flow
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI CFS
Jan 8, 2007

## Slide 9
Huron River near Hamburg Road
Since 1951
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI CFS
File photos show 1956 flood
June 26, 1968
1968 flood was largest recorded rainfall in this area, 4.34” in 24 hours
After a very wet week
2 Huron River dams failed
June 1968

## Slide 11
FEMA Flood Plain Map
Shows 9.5’ rise if 4.8” in 24 hours
(‘old’ 100 year storm)

## Slide 12
Video Includes
January 8, 2008 March 12, 2009
https://www.livingstondaily.com/story/news/local/community/green-oak-township/2016/05/26/flooded-out-forced-out-south-lyon-limekiln-lake-homes/84501778/

## Slide 13
Huron River near Hamburg Road
Since 1951
Chart: USGS 04172000 HURON RIVER NEAR HAMBURG, MI CFS
File photos show 1956 flood
June 26, 1968
1968 flood was largest recorded rainfall in this area, 4.34” in 24 hours
After a very wet week
2 Huron River dams failed
June 1968
2011 flood

## Slide 14
2008
2011
2009
Examples of Rainfall Patterns that Caused Flooding (Pinckney Station)
https://www.usclimatedata.com/climate/pinckney/michigan/united-states/usmi1092/2014/6
May 2018 totaled 4.02 in.

## Slide 15
FEMA Flood Plain Map
Shows 9.5’ rise if 4.8” in 24 hours
(‘old’ 100 year storm)

## Slide 16: 2001 Study: The Basics
Drainage area is very large – over 20 square miles
Winter conditions + spring rains = Amplified Flows
That’s about 2,000,000,000 gallons for a 24-hour storm of 4.8”
Outlet capacity is 20% of incoming
See Flood Plain Map for scale of project – likely in the 8 figures to have a major impact
  $2M estimate in 1974 to increase storage on one branch (Catholic Church)

## Slide 17: 2001 Study
Limited options, special assessment funding:
Create upstream storage (Likely 8 figures)
  Further analysis and study required to identify and purchase specific location(s)
  New pond excavation or modify existing upstream basin or wetland capacity
Remove lake level control
  Limited cost – maybe $150k
  Limited benefit – lowers the lake an estimated 12-13”
Increase Outlet capacity (likely mid to low 7 figures)
  Challenging construction area, limited easements for construction
Greater regulation upstream of Lake
  Resident and Township driven wetland protection
  WCWRC review of development plans to stricter standards is current Township requirement